# Run Audit Deliverable

Generated by aiswmm · swmm-report skill

Table 1 — Run identification and generation metadata.

| Run ID | 191335_downtown-victoria-bc_run |
| --- | --- |
| Generated at (UTC) | 2026-08-10T02:17:21+00:00 |
| SWMM version | 5.2.4 |

Run ID and timestamps are sourced directly from experiment_provenance.json; the SWMM version reflects the binary used during the simulation run.

## 1 Run Summary

Table 2 — Key hydraulic performance metrics for this simulation run.

| Metric | Value | Unit |
| --- | --- | --- |
| Peak flow at outfall | 0.033 | CMS |
| Time of peak | 05:00 | hh:mm |
| Continuity error | {'name': 'continuity_error', 'source_artifact': 'runner_rpt', 'source_sections': ['Runoff Quantity Continuity', 'Flow Routing Continuity'], 'unit': 'percent', 'values': {'flow_routing': 0.371, 'runoff_quantity': -0.098}} | % |
| SWMM return code | 0 |  |

Values are read from the run manifest and experiment_provenance.json produced by the SWMM runner and audit tool; no metrics are recomputed at report generation time.

## 2 Model Description

Table 3 — Catchment geometry, simulation window, and infiltration parameters.

| Parameter | Value |
| --- | --- |
| Basin area (ha) | 57.27 |
| Simulation start | 11/01/2023 |
| Simulation end | 11/04/2023 |
| Impervious fraction (%) | 75.81 |
| Saturated hydraulic conductivity (mm/hr) | n/a |
| Green-Ampt suction head (mm) | n/a |

Geometry and simulation-window values are parsed from the run's own SWMM INP (total subcatchment area, area-weighted imperviousness, [OPTIONS] dates); infiltration values are subcatchment averages and are reported only when the model uses Green-Ampt. Values shown as n/a could not be derived from the run directory.

## 3 QA Gates

Table 4 — Automated QA gate results from the audit pipeline.

| Gate ID | Status | Detail |
| --- | --- | --- |
| runner_return_code_zero | PASS | return_code=0 |
| runner_outputs_exist | PASS | rpt_exists=True out_exists=True |
| peak_metric_present | PASS | source_section=Node Inflow Summary |

Each gate is evaluated by swmm-experiment-audit against thresholds defined in the project configuration; PASS/FAIL status is read from experiment_provenance.json and is not recomputed here.

## 4 Figures

Figure 1 — study_area

Figure 2 — fig_DOF007021_Total_inflow

Figure 3 — network_map

## 5 Model Diagnostics

No diagnostics reported. Overall status: UNKNOWN (errors: 0, warnings: 0).

## 6 Artifact Provenance

Table 5 — Cryptographic hashes and roles of artifacts involved in this run.

| Artifact ID | Role | SHA-256 (first 16 chars) | Produced by |
| --- | --- | --- | --- |
| model_diagnostics | Deterministic SWMM model diagnostics | 8e37883441ab58ed | swmm-experiment-audit |
| runner_manifest | SWMM execution provenance | e8404f2da9666a06 | swmm-runner |
| runner_out | SWMM binary output | df44090da8ff6413 | swmm5 via swmm-runner |
| runner_rpt | SWMM text report | 5a566abf3b052398 | swmm5 via swmm-runner |
| runner_stderr | SWMM stderr log | e3b0c44298fc1c14 | swmm-runner |
| runner_stdout | SWMM stdout log | e44a90ad1f75d76b | swmm-runner |

SHA-256 digests are computed by swmm-experiment-audit at audit time and stored in experiment_provenance.json; only the first 16 hex characters are shown here for readability — the full digest is available in the provenance JSON.

## 7 Appendix: Generation Environment

Table 6 — Software environment at the time of audit generation.

| Item | Value |
| --- | --- |
| Git head | fa97d685b67d9a7b3766043d308fbc9040cc7b02 |
| Git branch | main |
| SWMM version | 5.2.4 |
| Python version | 3.11.15 (main, Mar 3 2026, 00:52:57) [Clang 17.0.0 (clang-1700.6.4.2)] |
| Provenance schema version | 1.3 |
| Generated by | swmm-experiment-audit |

All environment values are read from experiment_provenance.json; they capture the exact tool versions used to produce and audit the simulation results.